## Slide 1
Al-Karkh University for Science
Collage of Science
Medical Physics Department
General Biology II
" Practical"
Prepared by
Dr. Hiba Shakir Ahmed Dr. Rawa Abdul Redha Aziz
Ph.D Microbiology/Immunity Ph.D Antibiotic Molecular Biology

## Slide 2: Laboratory safety
LAB ((1))

## Slide 3: Laboratory safety
Many laboratories contain significant risks, and the prevention of laboratory accidents requires great care and constant vigilance. Examples of risk factors high voltages, high and low pressures aninclude d temperatures, corrosive and toxic chemicals, and biohazards including infective organisms and their toxins. The protect against laboratory accidents include : 1- the use of personal protective equipment, 2- and the use of the buddy system for particularly risky operations.

## Slide 4: laboratory accidents include :
1- Chemical hazards
Hazardous chemicals present physical and/or health threats to workers in clinical, industrial, and academic laboratories. Laboratory chemicals include cancer-causing agents (carcinogens), toxins (e.g., those affecting the liver, kidney, and nervous system), irritants, corrosives, sensitizers, as well as agents that act on the blood system or damage the lungs, skin, eyes, or mucous membranes.

## Slide 5: 2-Biological hazards
Biological agents and biological toxins
Many laboratory workers encounter daily exposure to biological hazards. These hazards are present in various sources throughout the laboratory such as blood and body fluids, culture specimens, body tissue and cadavers, and laboratory animals, as well as other workers.

## Slide 6
Anthrax - Anthrax is an acute infectious disease caused by a spore-forming bacterium called Bacillus anthracis.
Avian Flu - Avian influenza is caused by Influenza A viruses.
Botulism - Cases of botulism are usually associated with consumption of preserved foods.
Foodborne Disease - Foodborne illnesses are caused by viruses, bacteria, parasites, toxins, metals, and prions (microscopic protein particles). Symptoms range from mild gastroenteritis to life-threatening neurologic, hepatic and renal syndromes.
Molds and Fungi - Molds and fungi produce and release millions of spores small enough to be air, water, or insect-borne which may have negative effects on human health including, allergic reactions, asthma, and other respiratory problems.
Plague - The World Health Organization reports 1,000 to 3,000 cases of plague every year. A bioterrorist release of plague could result in a rapid spread of the pneumonic form of the disease, which could have devastating consequences.
Ricin - Ricin is one of the most toxic and easily produced plant toxins. It has been used in the past as a bioterrorist weapon and remains a serious threat.
Smallpox - Smallpox is a highly contagious disease unique to humans. It is estimated that no more than 20 percent of the population has any immunity from previous vaccination.

## Slide 7: 3- Physical hazards and others
Besides exposure to chemicals and biological agents, laboratory workers can also be exposed to a number of physical hazards. Some of the common physical hazards that they may encounter include the following :ergonomic , ionizing radiation, non-ionizing radiation and noise hazards.

## Slide 8: Personal protective equipments
Personal protective equipment or PPE are equipments worn to prevent against exposure of hazardous substances. Although, PPE does not eliminate the risks of hazards but it helps protect the user from the exposure. To make a workplace safer, it should provide instructions and training of how to use and choose proper PPE in different situations.
PPE includes:
Long-sleeved shirts, lab coats, aprons.
goggles
Safety gloves;
  There are 2 common types of safety gloves that are widely used in university laboratory, Latex and Nitrile gloves.
gloves
Face shield or safety.

## Slide 9: Personal and General laboratory safety
Never eat or drink while working in the laboratory.
Read labels carefully.
Do not use any equipment unless you are trained and approved as a user by your supervisor.
Wear safety glasses or face shields when working with hazardous materials and/or equipment.
Wear gloves when using any hazardous or toxic agent.
Clothing: When handling dangerous substances, wear gloves, laboratory coats, and safety shield or glasses. Shorts and sandals should not be worn in the lab at any time. Shoes are required when working in the machine shops.

## Slide 10
If you have long hair or loose clothes, make sure it is tied back or confined.
Keep the work area clear of all materials except those needed for your work. Coats should be hung in your room or placed in a locker. Extra books, purses, etc. should be kept away from equipment that requires air flow or ventilation to prevent overheating.
Disposal - Students are responsible for the proper disposal of used material if any in appropriate containers.
Equipment Failure - If a piece of equipment fails while being used, report it immediately a technician. Never try to fix the problem yourself because you could harm yourself and others.
If leaving a lab unattended, turn off all ignition sources and lock the doors.
Clean up your work area before leaving.
Wash hands before leaving the lab and before eating.