## Slide 1: Experiment six Electrical Equivalent of Heat

## Slide 2
Apparatus:
Copper calorimeter with outer jacket of suitable lagging
Thermometer 0-50 in 0.2 .
Stirrer made from bare copper wire.
Two thick copper leads connected to a heating coil.
D.c voltage supply.
A Voltmeter reading to 6V.
An ammeter reading to 3A.
A rheostat capable of taking a current of 2A.
Circuit key
Stop watch.
Suitable liquid (water, glycerin or paraffin)

## Slide 3
PROCEDURE:
Find the mass of the calorimeter while it is empty.
Fill the calorimeter with 200 ml of water to cover the heating coil and find its mass again.
Calculate the mass of the water.
Connect up the electrical circuit as shown in the diagram.
Read the temperature
Switch on the current for just sufficient time to allow the adjustment of rheostat to give a current of about 2A with both ammeter and voltmeter registering convenient readings.
Stir and wait a few minutes for the temperature of the liquid to become steady at room temperature.
switch on a stop –watch.
Record the temperature and also the voltmeter readings every minute minute.
After the temperature has risen by a about , note the time t and switch off.